## Family Data
Nbre de fibres | Poids (kg/km) | D (mm) | Tm (daN) | Tl (daN) | Portée max (m)
2x6 | 48 | 8.1 | 96 | 32 | 60 | Basé sur un facteur de pose de 1.3%
4x6 | 63 | 9.3 | 142 | 47.0 | 60 | Pour toute autre condition de pose,
6x6 | 63 | 9.3 | 142 | 47.0 | 60 | consulter les fiches d’installation
8x6 | 66 | 9.5 | 163 | 54.3 | 60 | ou contacter Nexans :
12x6 | 103 | 11.4 | 233 | 78.0 | 60 | contact.telecominfra@nexans.com
16x6 | 127 | 12.7 | 284 | 95 | 60
24x6 | 120 | 12.6 | 260 | 87.0 | 60
1x12 | 48 | 8.1 | 98 | 33.0 | 60
2x12 | 48 | 8.1 | 98 | 33.0 | 60
4x12 | 57 | 9.1 | 130 | 43.0 | 60
3x12 | 57 | 9.1 | 130 | 43.0 | 60
6x12 | 64 | 9.5 | 141 | 47.0 | 60
8x12 | 90 | 10.7 | 181 | 60.0 | 60
12x12 | 115 | 12.2 | 245 | 82.0 | 60

## Authorized values
[8 empty] | 536871153 | 536871958 | 536871834 | 536873859 | 536872858 | 536871846 | 536872478 | 536871853 | 536871859 | 536872016 | 536871942 | 536871915 | 536872036 | 536872009 | 536873052 | 536872093 | 536871899 | 536872090 | 536873112
[8 empty] | 0 .. 40 |  | 79 |  | 20 | 536872479 |  | 536870973 | 1 |  |  | 3 |  |  |  | -40 .. 70 | 2 |  | 536870915
ERP Code | Product Status | Range Type | Selling Unit | Base Unit | Status (Mandatory) | Manuf. Plant | Contact Plant | Ambient installation temperature, range | Approximate weight | Armour type | Bending factor when installed | Bending factor when laying | Construction type | Crush resistance (IEC 60794-1-E3) | Fiber optic type | Installation type | Maximum admissible traction load (Tm) | Maximum tensile load during service (Tl) | Metal free | Nominal outer diameter | Number of optical fibres | Number of tubes | Operating temperature, range | Outer sheath | Storage temperature, range | Strength member
AU-SAP(OPE) | New | In stock | Bag | Day | Off-line | BE-Buizingen | BE-Buizingen | 0 .. 0 |  | Aluminium Wire | 4 (xD) |  | ((2xAWG24/19)+2xAWG20/19)C |  | E 9/125 | Aerial - self-supporting |  |  | No |  |  |  | 0 .. 0 | AP | -40 .. 70 | Aramid yarns
BR-Ficap | Removed | Make to order | Box | Hour | On-line | BE-Charleroi | BE-Elouges | 0 .. 40 |  | Aluminium alloy flat wires | D>25mm: 6 (xD); D<25mm: 4 (xD) |  | ((2xAWG28/19)+2xAWG20/19)C |  | G 50/125 | Aerial Cable |  |  | No |  |  |  | -40 .. 70 | Anti-rodent LLDPE | 0 .. 0 | Central
BR-Nexans | Substituted |  | Cable guy | Kit |  | BE-Elouges | BE-Frameries |  |  | Aluminium clad steel wires |  |  | ((3x2x0.14)C+2x0.50+4x0.14+4x0.22)C |  | G 62,5/125 | Cableway cables |  |  | Yes |  |  |  |  | Anti-tracking |  | Central + peripheral
CN-NKH | To be removed |  | Coil | Reel in a box |  | BE-Erembodegem | FR-Autun |  |  | Aluminium foil |  |  | ((3x2x0.14)C+4x0.14+2x0.5)C |  | G.657A | Duct - direct burial - aerial | [7 empty] | CM |  | Central FRP
CN-Shanghai |  |  | Cut to length | Unit |  | BE-Frameries | FR-Bohain |  |  | Aluminium tape |  |  | ((4x2x0.34)C + 4x0.50)C |  | G657A1 - 200 µm | House | [7 empty] | CMP |  | Embedded FRP
CN-Yanggu |  |  | Drum | ft |  | FR-Andrézieux | NL-Elouges |  |  | Aluminium wire and tape |  |  | (10G0,50)C |  | GIGAlite 3 | Indoor | [7 empty] | COG |  | External
Cableway (GPS) |  |  | Kg | kg |  | FR-Bohain | SE-GRIMSAS |  |  | Aluminum Interlock |  |  | (10G0,75)C |  | GIGAlite II | Indoor/Outdoor | [7 empty] | CPE |  | FRP
Cableway (KPS) |  |  | Kit | lb |  | NCS |  |  |  | Aluminum wires with HDPE sheath |  |  | (10G1)C |  | HCS 200/230/500 | Outdoor | [7 empty] | CPR |  | Metallic
Cableway (NPS) |  |  | Module | m |  | Outsourcing |  |  |  | Aluminum wires with HDPE-UV sheath |  |  | (10G1,5)C |  | Mono-mode / Single mode | Outdoor - Direct burial | [7 empty] | CR |  | Peripheral aramid yarn
Cableway (PRJ) |  |  | N'Roll |  |  | SE-Grimsas |  |  |  | Aramid yarn |  |  | (10G2,5)C |  | Multi-mode / Graded index | Outdoor - Duct | [7 empty] | Chlorinated Polyethyene (CPE) |  | Steel rods
Crossway (EPE) |  |  | Pack | [6 empty] | Armored |  |  | (10x0,14)C |  | MultiMode 50/125 | Outdoor - Microduct blowable | [7 empty] | Chlorinated Polyethylene - CPE |  | Steel wires
Crossway (UPE) |  |  | Pallet | [6 empty] | Armoured |  |  | (10x0,25)C |  | MultiMode 50/125 | River, lakes and archipelago | [7 empty] | Chlorinated rubber compound type 5GM3
D-SAP-R3 |  |  | Reel | [6 empty] | Armouring wires |  |  | (10x0,34)C |  | MultiMode 62,5/125 | Rivers and lakes | [7 empty] | Chlorinated rubber compound type 5GM5
DK-Jydsk |  |  | Ring | [6 empty] | Bare copper braid |  |  | (10x2x0,14)C |  | Multimode | Tunnel | [7 empty] | Chlorinated rubber extra heavy duty
F-Plainfaing |  |  | Set | [6 empty] | Basket weave wire armor |  |  | (10x2x0,25)C |  | Multimode 62.5/125 / Singlemode 9/125 | Vertical - wind | [7 empty] | Chloroprene rubber
GH-Tema |  |  | Sling pack | [6 empty] | Bronze Tape |  |  | (10x2x0,34)C |  | Multimode or Single mode in loose tubes | [8 empty] | Clear PVDF
Glovia |  |  | Spool | [6 empty] | Bronze Tapes |  |  | (11x0,14)C |  | OM1 62.5/125 | [8 empty] | Cross-linked (XL) HFFR acc. to EN 60811 and EN 60216-1-2
I-Milano |  |  | Unit | [6 empty] | CLN |  |  | (11x0,25)C |  | OM1 62.5/125 / Single-mode 9/125 | [8 empty] | Cross-linked TPE compound
I-Offida |  |  | ft | [6 empty] | CLT |  |  | (11x0,34)C |  | OM1 62.5/125 Extended Distance | [8 empty] | Cross-linked compound
IR-Athlone |  |  | lb | [6 empty] | Copper |  |  | (12G0,50)C |  | OM1+ 62.5/125 Extended Distance / Single-mode 9/125 | [8 empty] | Cross-linked copolymere rubber
LB-Navision |  |  | m | [6 empty] | Copper Wires |  |  | (12G0,75)C |  | OM2 50/125 | [8 empty] | Cross-linked elastomer
MO-Casablanca | [9 empty] | Corrugated steel |  |  | (12G1)C |  | OM2 50/125 / Single-mode 9/125 | [8 empty] | Cross-linked material EM 104 acc. EN 50264-1
QA-Navision | [9 empty] | Cross-linked flame retardant polyolefin |  |  | (12G1,5)C |  | OM2+ 50/125 Extended Distance | [8 empty] | Cross-linked polychloroprene rubber
RU-Uglich | [9 empty] | Double aluminium tape |  |  | (12G2,5)C |  | OM2+ 50/125 Extended Distance / OM1 62.5/125 | [8 empty] | Cross-linked polyolefin
SAP-R3 (P700) | [9 empty] | Double steel tapes |  |  | (12x0,14)C |  | OM2+ 50/125 Extended Distance / Single-mode 9/125 | [8 empty] | Cross-linked synthetic elastomer type EM 2
SE-Grimsas | [9 empty] | FN |  |  | (12x0,25)C |  | OM3 50/125 | [8 empty] | Cross-linked synthetic elastomer type EM 2 waterproof
UK-Milton_Keynes | [9 empty] | FRP |  |  | (12x0,34)C |  | OM3 50/125 / Single-mode 9/125 | [8 empty] | Cross-linked synthetic elastomer type EM 7
Undefined | [9 empty] | FRP Dielectric |  |  | (12x0.22)C |  | OM3 50/125 Extended Distance / Single-mode 9/125 | [8 empty] | Cross-linked synthetic elastomer type EM 8
[10 empty] | FT |  |  | (13x0,14)C |  | OM3+ 50/125 Extended Distance | [8 empty] | Cross-linked synthetic elastomer type EM2 waterproof, EM6, EM7, EM8
[10 empty] | Flat steel wires |  |  | (13x0,25)C |  | OM4 50/125 | [8 empty] | Cross-linked synthetic rubber compound
[10 empty] | Flat steel wires and flat bare copper wires covered with an open counter spiral of galvanized steel tape |  |  | (13x0,34)C |  | OM4 50/125 / Single-mode 9/125 | [8 empty] | EPR
[10 empty] | Galfan coated high strength steel wires |  |  | (14G0,50)C |  | OM4+ 50/125 Extended Distance | [8 empty] | ETFE
[10 empty] | Galvanised round steel wires |  |  | (14G0,75)C |  | OM4+ 50/125 Extended Distance / Single-mode 9/125 | [8 empty] | EVA/PE
[10 empty] | Galvanized steel tapes or wires |  |  | (14G1)C |  | OM5 50/125 Wideband | [8 empty] | Elastomer
[10 empty] | Galvanized Steel Braid |  |  | (14x0,14)C |  | OM5 50/125 Wideband / OS2 Single-mode 9/125 | [8 empty] | Engineering Plastic
[10 empty] | Galvanized flat steel wires (F) |  |  | (14x0,25)C |  | OS1 | [8 empty] | Extra-Heavy-Duty Thermoplastic Polyurethane (TPU)
[10 empty] | Galvanized flat steel wires with reinforcement helix (Fg) |  |  | (14x0,34)C |  | OS2 | [8 empty] | Extruded FEP
[10 empty] | Galvanized round or flat steel wires or tapes |  |  | (15x0,14)C |  | SM | [8 empty] | Extruded PVC
[10 empty] | Galvanized steel tapes |  |  | (15x0,25)C |  | SM (G.652) | [8 empty] | Extruded XL Polyvinylidene Fluoride (XL-PVDF)
[10 empty] | Galvanized steel tapes, light (CL) |  |  | (15x0,34)C |  | SM (G.652)+MM 50/125 | [8 empty] | Extruded layer of polymeric material
[10 empty] | Galvanized steel wire + Galvanized steel tape |  |  | (16G0,50)C |  | SM (G.652)+MM 62,5/125 | [8 empty] | Extruded polyolefin
[10 empty] | Galvanized steel wire + tin copper wire |  |  | (16G0,75)C |  | SM (G.652C) | [8 empty] | FEP
[10 empty] | Galvanized steel wire braiding |  |  | (16G1)C |  | SM (G.652D) | [8 empty] | FR-PUR
[10 empty] | Galvanized steel wires |  |  | (16x0,14)C |  | SM (G.655) | [8 empty] | Ffame retardant polyurethane
[10 empty] | Galvanized steel wires with HDPE sheath |  |  | (16x0,25)C |  | SM (G.657) | [8 empty] | Fiber glass
[10 empty] | Galvanized steel wires with HDPE-UV sheath |  |  | (16x0,34)C |  | SM (G.657B) | [8 empty] | Fire-retardant
[10 empty] | Galvanized steel wires with LLDPE-UV sheath |  |  | (16x2x0,14)C |  | SM (G657.A2/B2) | [8 empty] | Fire-retardant PVC
[10 empty] | Glass yarns |  |  | (16x2x0,25)C |  | SM&nbsp;(G657.A2) | [8 empty] | Flame retardant Anti-rodent PVC
[10 empty] | Helically applied steel tapes |  |  | (16x2x0,34)C |  | SM&nbsp;(G657.B3) | [8 empty] | Flame retardant Antitermite PVC
[10 empty] | Interlocked aluminum tape |  |  | (17x0,14)C |  | SM (G657.A1) | [8 empty] | Flame retardant PVC
[10 empty] | Interlocking Armor |  |  | (17x0,25)C |  | Single or multimode | [8 empty] | Flame retardant polymer compound
[10 empty] | Longitudinal aluminium tape |  |  | (17x0,34)C |  | Single-mode / Multi-mode | [8 empty] | HDPE
[10 empty] | Metal tape |  |  | (18G0,50)C |  | Single-mode 12 fiber optics | [8 empty] | HDPE - Antitracking
[10 empty] | Non magnetic tape or aluminium wire |  |  | (18G0,75)C |  | SingleMode 9/125 | [8 empty] | HDPE - UV / Anti-Rodent
[10 empty] | RT |  |  | (18G1)C |  | Singlemode ITU-T G.65 | [8 empty] | HDPE - UV Anti-Rodent / Anti-Termite
[10 empty] | Round steel wires (R) |  |  | (18G1,5)C |  | Standard | [8 empty] | HDPE-UV
[10 empty] | Single layer of aluminium wires |  |  | (18G2,5)C |  | Standard Monomode | [8 empty] | HFFR (Halogene Free Flame Retardant)
[10 empty] | Single layer of galvanized steel wires |  |  | (18G2,50)C |  | no | [8 empty] | HFFR (polyolefin)
[10 empty] | Stainless steel |  |  | (18x0,14)C | [10 empty] | HFFR TPU
[10 empty] | Steel Interlock |  |  | (18x0,25)C | [10 empty] | HFFRLS compound
[10 empty] | Steel tape or SWA |  |  | (18x0,34)C | [10 empty] | HFS -110tp
[10 empty] | Steel tapes |  |  | (19x0,14)C | [10 empty] | HFS-110-TP
[10 empty] | Steel wires |  |  | (19x0,25)C | [10 empty] | HFS-90-TP
[10 empty] | Tinned copper braid |  |  | (19x0,34)C | [10 empty] | Halogen free
[10 empty] | Tinned copper braid with individual protection |  |  | (1x(4x0,14)+4x0,34)C | [10 empty] | Halogen free FLAMEX
[10 empty] | Torque-balanced, galvanized steel wires |  |  | (1x10)C | [10 empty] | Halogen free M16
[10 empty] | Two copper tapes |  |  | (1x120)C | [10 empty] | Halogen free and flame retardent copolymer
[10 empty] | Two galvanized steel tapes |  |  | (1x150)C | [10 empty] | Halogen free compound
[10 empty] | Two steel tapes |  |  | (1x16)C | [10 empty] | Halogen free flame retardant
[10 empty] | Unarmoured |  |  | (1x185)C | [10 empty] | Halogen free flexible thermoplastic compound
[13 empty] | (1x240)C | [10 empty] | Halogen free polyolefin
[13 empty] | (1x25)C | [10 empty] | Halogen free thermoplastic compound
[13 empty] | (1x2x0,3)C+3x0,75 | [10 empty] | Halogen free thermoplastic compound - UV Resist.
[13 empty] | (1x2x0,3)StD - Profibus | [10 empty] | Halogen free thermoplastic compound Anti-Termite
[13 empty] | (1x2x0,64/2,55)C | [10 empty] | Halogen free thermoplastic compound Anti-rodent
[13 empty] | (1x2x0,75)C | [10 empty] | Halogen free, fire retardant
[13 empty] | (1x2x0.18+5x0.5)C | [10 empty] | Halogen free, flame retardant compound HM4
[13 empty] | (1x2x0.22)C | [10 empty] | Halogen-free
[13 empty] | (1x2x0.34+1x2x0.22)C | [10 empty] | Heavy duty PCP
[13 empty] | (1x2x0.50)C | [10 empty] | In &amp; out
[13 empty] | (1x2x0.64/2.55)C+3G0.75 | [10 empty] | Jelly filled, Polyethylene
[13 empty] | (1x2x1.8+1x2x1)C | [10 empty] | Jelly filled, Polyethylene/nylon
[13 empty] | (1x2x15AWG)+(1x2x18AWG) | [10 empty] | Jelly filled, moisture barrier polyethylene/nylon
[13 empty] | (1x2x22AWG)+(1x2x24AWG) | [10 empty] | Jute
[13 empty] | (1x2x22AWG)+(2x2x24AWG) | [10 empty] | LAP
[13 empty] | (1x2xAWG22/19)C | [10 empty] | LH Polyolefin
[13 empty] | (1x2xAWG24/1)C | [10 empty] | LLDPE
[13 empty] | (1x2xAWG24/19)C | [10 empty] | LLDPE-UV
[13 empty] | (1x2xAWG24/19)C | [10 empty] | LSF
[13 empty] | (1x2xAWG24/7)C | [10 empty] | LSFRZH
[13 empty] | (1x2xAWG24/7)C+4x1,5 | [10 empty] | LSHFFR compound
[13 empty] | (1x35)C | [10 empty] | LSZH
[13 empty] | (1x4)C | [10 empty] | LSZH compound
[13 empty] | (1x4x0,75)C | [10 empty] | LSZH thermoplastic polymer
[13 empty] | (1x4xAWG22/1)C | [10 empty] | LSZH-FR
[13 empty] | (1x4xAWG22/19)C | [10 empty] | Lead
[13 empty] | (1x4xAWG22/7)C | [10 empty] | Low density polyethylene
[13 empty] | (1x4xAWG22/7)C+4x1,5 | [10 empty] | Low smoke, zero halogen thermoplastic compound
[13 empty] | (1x4xAWG24/19)C | [10 empty] | Modified aromatic polyimide resin
[13 empty] | (1x4xAWG24/7)C | [10 empty] | NBR/PVC
[13 empty] | (1x4xAWG26/19)C | [10 empty] | Nylon
[13 empty] | (1x50)C | [10 empty] | OFS
[13 empty] | (1x6)C | [10 empty] | Oil resistant
[13 empty] | (1x70)C | [10 empty] | Overall Grey PVC
[13 empty] | (1x95)C | [10 empty] | PA
[13 empty] | (20G0,50)C | [10 empty] | PAP
[13 empty] | (20G0,75)C | [10 empty] | PE
[13 empty] | (20G1)C | [10 empty] | PE LLD
[13 empty] | (20x0,14)C | [10 empty] | PE including the messenger
[13 empty] | (20x0,25)C | [10 empty] | PE-HD
[13 empty] | (20x0,34)C | [10 empty] | PFA
[13 empty] | (21x0,14)C | [10 empty] | PR
[13 empty] | (21x0,25)C | [10 empty] | PUR
[13 empty] | (21x0,34)C | [10 empty] | PUR (11 Y) - gap filling
[13 empty] | (22G0,50)C | [10 empty] | PUR (11Y)
[13 empty] | (22G0,75)C | [10 empty] | PVC
[13 empty] | (22G1)C | [10 empty] | PVC (Y) - gap filling
[13 empty] | (22x0,14)C | [10 empty] | PVC - CM
[13 empty] | (22x0,25)C | [10 empty] | PVC - CMR
[13 empty] | (22x0,34)C | [10 empty] | PVC - CMX
[13 empty] | (23x0,14)C | [10 empty] | PVC Flexible
[13 empty] | (23x0,25)C | [10 empty] | PVC LS-LH
[13 empty] | (23x0,34)C | [10 empty] | PVC LS-LH-Antirodent
[13 empty] | (24G0,50)C | [10 empty] | PVC compound
[13 empty] | (24G0,75)C | [10 empty] | PVC compound type YM 2
[13 empty] | (24G1)C | [10 empty] | PVC compound type YM 3
[13 empty] | (24x0,14)C | [10 empty] | PVC compound type YM 5
[13 empty] | (24x0,14)C | [10 empty] | PVC inner filling sheath
[13 empty] | (24x0,25)C | [10 empty] | PVC or PE or LSF
[13 empty] | (24x0,34)C | [10 empty] | PVC-ETFE
[13 empty] | (25G0,50)C | [10 empty] | PVC-HR
[13 empty] | (25G0,75)C | [10 empty] | PVC-compound TM2
[13 empty] | (25G1)C | [10 empty] | PVC-compound TM3
[13 empty] | (25G1,5)C | [10 empty] | PVC/HDPE
[13 empty] | (25G2,5)C | [10 empty] | PVC/PE
[13 empty] | (25x0,14)C | [10 empty] | PVDF
[13 empty] | (25x0,14)C | [10 empty] | Plenum
[13 empty] | (25x0,25)C | [10 empty] | Polychloroprene
[13 empty] | (25x0,34)C | [10 empty] | Polychloroprene type 5GM5
[13 empty] | (26G0,50)C | [10 empty] | Polyethylene
[13 empty] | (26G0,75)C | [10 empty] | Polyethylene UV
[13 empty] | (26G1)C | [10 empty] | Polyethylene/nylon
[13 empty] | (26x0,14)C | [10 empty] | Polyimide tapes
[13 empty] | (26x0,25)C | [10 empty] | Polymer Alloy
[13 empty] | (26x0,34)C | [10 empty] | Polymide coating
[13 empty] | (27x0,14)C | [10 empty] | Polyolefin
[13 empty] | (27x0,25)C | [10 empty] | Polyolefin (DMO1 type)
[13 empty] | (27x0,34)C | [10 empty] | Polyolefin (DMZ1 Type)
[13 empty] | (28G0,50)C | [10 empty] | Polyolefin (DMZ1 Type) / Anti-Rodent
[13 empty] | (28G0,75)C | [10 empty] | Polyolefin SHF2
[13 empty] | (28G1)C | [10 empty] | Polyolefin and polyamide
[13 empty] | (28x0,14)C | [10 empty] | Polyurethan
[13 empty] | (28x0,25)C | [10 empty] | Polyurethane compound
[13 empty] | (28x0,34)C | [10 empty] | Polyurethane compound LSZH
[13 empty] | (29x0,14)C | [10 empty] | Polyurethane, double layer with reinforcement
[13 empty] | (29x0,25)C | [10 empty] | Polyurethane-compound TPU
[13 empty] | (29x0,34)C | [10 empty] | Reinforced PVC
[13 empty] | (2x(2x0,14)C+(2x0,34)C)C | [10 empty] | Riser
[13 empty] | (2x(2x0,15)C+(2x0,38)C)C | [10 empty] | Rubber
[13 empty] | (2x(2x0,22)C+(2x0,38)C)C | [10 empty] | Rubber compound
[13 empty] | (2x0,14)C | [10 empty] | Rubber compound
[13 empty] | (2x0,25)C | [10 empty] | SEM, Chlorinated Polyethylene - CPE
[13 empty] | (2x0,34)C | [10 empty] | SHF 1
[13 empty] | (2x0,50)C | [10 empty] | SHF1 + Polyimid coating
[13 empty] | (2x0,75)C | [10 empty] | SP
[13 empty] | (2x1)C | [10 empty] | Semi-conductive
[13 empty] | (2x1+3x(2x0.25)C+3x0.25)C | [10 empty] | Silane crosslinked thermoplastic
[13 empty] | (2x1,5)C | [10 empty] | Silicon elastomer
[13 empty] | (2x16AWG + 2x2x26AWG) OH2 | [10 empty] | Special PVC compound
[13 empty] | (2x2,5)C | [10 empty] | Special compound
[13 empty] | (2x2x0,14)C | [10 empty] | Special compound OFS type
[13 empty] | (2x2x0,18)StD - Ethernet CAT5e | [10 empty] | Special cross-linked elastomer
[13 empty] | (2x2x0,25)C | [10 empty] | Special cross-linked halogen free rubber
[13 empty] | (2x2x0,25+2x0,5)C | [10 empty] | Special crosslinked Elastomer EM5
[13 empty] | (2x2x0,34)C | [10 empty] | Special elastomer
[13 empty] | (2x2x0.15+2x0.38)C | [10 empty] | Synthetic yarn braiding
[13 empty] | (2x2x0.18)C | [10 empty] | TMPU
[13 empty] | (2x2x0.18+5x0.5)C | [10 empty] | TPE
[13 empty] | (2x2x0.22)C | [10 empty] | TPE HFFR
[13 empty] | (2x2x0.22)H1+13x0.22 | [10 empty] | TPR (thermoplastic rubber)
[13 empty] | (2x2x0.22+1x2x0.38)C | [10 empty] | TPU (special polyurethane)
[13 empty] | (2x2x0.25)C | [10 empty] | Thermoplastic Polyether-Polyurethane-Elastomer
[13 empty] | (2x2x0.34)C | [10 empty] | Thermoplastic compound
[13 empty] | (2x4)C | [10 empty] | Thermoplastic elastomer
[13 empty] | (30G0,50)C | [10 empty] | Thermoplastic halogen free material (G)
[13 empty] | (30G0,75)C | [10 empty] | Thermoplastic material
[13 empty] | (30G1)C | [10 empty] | Thermoplastic, halogen free polyolefin, compound HM2
[13 empty] | (30x0,14)C | [10 empty] | Thermoset HEPR 105°C Compound
[13 empty] | (30x0,25)C | [10 empty] | Thermoset Halogen Free, Flame retardant, UV Resistant
[13 empty] | (30x0,34)C | [10 empty] | Thermosetting compound
[13 empty] | (31x0,14)C | [10 empty] | Tinned copper braid with transparent PVC
[13 empty] | (31x0,25)C | [10 empty] | Unsheathed
[13 empty] | (31x0,34)C | [10 empty] | Vulcanised rubber
[13 empty] | (32x0,14)C | [10 empty] | Wrapped and sealed PTFE
[13 empty] | (32x0,25)C | [10 empty] | XL-ETFE
[13 empty] | (32x0,34)C | [10 empty] | XL-HFFR
[13 empty] | (37x0,34)C | [10 empty] | XLPE
[13 empty] | (3G0,50)C | [10 empty] | XLPE-Antitracking
[13 empty] | (3G0,75)C | [10 empty] | copolymer, thermoplastic
[13 empty] | (3G1)C | [10 empty] | lead-free
[13 empty] | (3G1,5)C | [10 empty] | polychloride
[13 empty] | (3G10)C | [10 empty] | superpolyamide
(3G16)C
(3G2,5)C
(3G25)C
(3G35)C
(3G4)C
(3G6)C
(3x(2x0,14)+3x0,14)C
(3x(2x0,14)C+(4x0,14)+(2+0,5))C
(3x(2x0,14)C+2x0,5+4x0,14)C
(3x(2x0,14)C+2x0,5+4x0,14+4x0,22)C
(3x(2x0.14)C+2x(0.5)C)C
(3x(2x0.14)C+2x(1)C)C
(3x(2x0.14)D+(2x0.5)D)C
(3x(2x0.25)C)C
(3x(2x0.34)C)C
(3x0,14)C
(3x0,25)C
(3x0,25+3x(2x0,25)+2x1,0)C
(3x0,34)C
(3x0,75)C
(3x2x0,14)C
(3x2x0,25)C
(3x2x0,25+3G1)C
(3x2x0,34)C
(3x2x0.18+6x0.5)C
(3x2x0.18+6x1)C
(3x2x0.22)C
(3x2x0.25)C
(4G0,50)C
(4G0,75)C
(4G0.5+(2x0.35)C+(2xAWG26)C)C
(4G0.75 + 2x(2x0.34)C)C
(4G0.75 + 2x2x0.34)C
(4G0.75+(2x0.35)C+(2xAWG26)C)C
(4G0.75+(2x0.5)C)C
(4G1 + (2x0.5)C)C
(4G1 + (2x1.0)C)C
(4G1 + 2x2x0.75)C
(4G1)C
(4G1,0 +(2x1,5)C)C
(4G1,0+1P0,5/C)C
(4G1,5)C
(4G1,5+(2x1,0)C+(2x0,24+2x2x0,09)C)C
(4G1,5+(4x0,5)C)C
(4G1,5+1P0,5/C)C
(4G1,5+1P0,75/C)C
(4G1.0 + 2x(2x0.75)C)C
(4G1.0+(2x0.75)C+(2xAWG22)C)C
(4G1.5 + 2x2x0.75)C
(4G1.5 + (2x0.5)C)C
(4G1.5 + (2x1.0)C)C
(4G1.5 + (2x1.5)C)C
(4G1.5 + 2x(2x0.75)C)C
(4G1.5+(2x1.00)C+(2xAWG22)C)C
(4G1.5+(3x1.0)C)C
(4G1.5+2x(2x0.75)C)C
(4G10 + (2x1.0)C)C
(4G10 + (2x1.5)C + (2x1.0)C)C
(4G10 + (2x1.5)C)C
(4G10 + 2x1+2x1.5)C
(4G10)C
(4G10+(3x1.5)C)C
(4G10+2x(2x1.0)C)C
(4G10+2x(2x1.5)C)C
(4G10,0+(4x0,5)C)C
(4G10,0+2x(2x1,0)C)C
(4G10.0+(2x1.50)C+(2xAWG22)C)C
(4G120)C
(4G150)C
(4G16 + (2x1.0)C)C
(4G16 + (2x1.5)C)C
(4G16 + 2x(2x1.5)C)C
(4G16 + 2x2x1.5)C
(4G16)C
(4G16+(3x1.5)C)C
(4G16+2x(2x1.5)C)C
(4G16,0+(4x0,5)C)C
(4G16.0+(2x1.50)C+(2xAWG22)C)C
(4G185)C
(4G2,5)C
(4G2,5+(4x0,5)C)C
(4G2,5+1P0,5/C)C
(4G2,5+1P0,75/C)C
(4G2.5 + (2x0.5)C)C
(4G2.5 + (2x1.0)C)C
(4G2.5 + (2x1.5)C)C
(4G2.5 + 2x(2x1.0)C)C
(4G2.5 + 2x2x1)
(4G2.5+(2x1.00)C+(2xAWG22)C)C
(4G2.5+(3x1.0)C)C
(4G2.5+2x(2x0.75)C)C
(4G25 + (2x1,0)C)C
(4G25 + 2x(2x1.5)C)C
(4G25 + 2x2x1.5)C
(4G25 +(2x1.5)C)C
(4G25)C
(4G35 + (2x1,0)C)C
(4G35 + 2x(2x1.5)C)C
(4G35 + 2x2x1.5)C
(4G35 +(2x1.5)C)C
(4G35)C
(4G4 + (2x1.0)C)C
(4G4 + (2x1.5)C + (2x1.0)C)C
(4G4 + (2x1.5)C)C
(4G4 + 2x1 + 2x1.5)C
(4G4)C
(4G4+(2x1.5)C+(2x1.0)C)C
(4G4+(3x1.0)C)C
(4G4+2x(2x1.0)C)C
(4G4+2x(2x1.5)C)C
(4G4,0+(2x1,0)C+(2x0,24+2x2x0,09)C)C
(4G4,0+(4x0,5)C)C
(4G4,0+2x(2x1,0)C)C
(4G4.0+(2x1.50)C+(2xAWG22)C)C
(4G50 + (2x1.5)C)C
(4G50 + 2x2x2.5)C
(4G50 +2x(2x2.5)C)C
(4G50)C
(4G6 + (2x1.0)C)C
(4G6 + (2x1.5)C)C
(4G6 +(2x1.5)C + (2x1.0)C)C
(4G6)C
(4G6+(3x1.5)C)C
(4G6+2x(2x1.0)C)C
(4G6+2x(2x1.5)C)C
(4G6,0+(4x0,5)C)C
(4G6,0+2x(2x1,0)C)C
(4G6.0+(2x1.50)C+(2xAWG22)C)C
(4G70)C
(4G75)C
(4G95)C
(4x(2x0,14)C+2x(1)C)C
(4x(2x0.25)C)C
(4x(2x0.34)C)C
(4x(2xAWG26/19)C)C
(4x0,14)C
(4x0,25)C
(4x0,34)C
(4x1+4x(2x0.14)C+4x0.14)C
(4x1,0+2x(2x0,75)StC)D
(4x2,5+2x1,0)D
(4x2x0,14)C
(4x2x0,14+4x1,0+(4x0,14)C)C
(4x2x0,18)StD - Ethernet CAT5e
(4x2x0,25)C
(4x2x0,25+2x0,5)StD
(4x2x0,34)C
(4x2x0,34+4x0,5)C
(4x2x0.14+4x0.5)C
(4x2x0.14+4x0.5+(4x0.14)C)C
(4x2x0.18)C
(4x2x0.22+2x0.5)C
(4x2x0.25+2x0.5)C
(4x2x0.25+2x1)C
(4x2xAWG26/19)C
(5G0,50)C
(5G0,75)C
(5G1)C
(5G1,5)C
(5G10)C
(5G16)C
(5G2,5)C
(5G25)C
(5G35)C
(5G4)C
(5G6)C
(5x(2x0.25)C)C
(5x(2x0.34)C)C
(5x0,14)C
(5x0,25)C
(5x0,34)C
(5x2x0,14)C
(5x2x0,25)C
(5x2x0,25)C
(5x2x0,34)C
(5x2x0.18+6x0.5)C
(6G0,50)C
(6G0,75)C
(6G1)C
(6G1,5)C
(6G2,5)C
(6x(2x0.25)C)C
(6x(2x0.34)C)C
(6x0,14)C
(6x0,25)C
(6x0,34)C
(6x2x0,14)C
(6x2x0,25)C
(6x2x0,25)C
(6x2x0,34)C
(7G0,50)C
(7G0,75)C
(7G1)C
(7G1,5)C
(7G10)C
(7G16)C
(7G2,5)C
(7G4)C
(7G6)C
(7x0,14)C
(7x0,25)C
(7x0,34)C
(8G0,50)C
(8G0,75)C
(8G1)C
(8G1,5)C
(8G2,5)C
(8P0,18)C
(8x0,14)C
(8x0,25)C
(8x0,34)C
(8x2x0,14)C
(8x2x0,25)C
(8x2x0,34)C
(8x2x0.18) C
(9x(2x0.25)C)C
(9x(2x0.34)C)C
(9x0,14)C
(9x0,25)C
(9x0,34)C
(9x0.5)C
1 G 10
1 G 120
1 G 150
1 G 16
1 G 185
1 G 240
1 G 25
1 G 35
1 G 50
1 G 70
1 G 95
1 x 1.38
1 x 1.5
1 x 1.78
1 x 10
1 x 120
1 x 120 RE
1 x 120 RM
1 x 120/16
1 x 150
1 x 150 RE
1 x 150 RM
1 x 150/25
1 x 16
1 x 185
1 x 185 RE
1 x 185 RM
1 x 185/25
1 x 2 x 0.22
1 x 2 x 0.34
1 x 2 x 0.50
1 x 2.25
1 x 240
1 x 240 RE
1 x 240 RM
1 x 240/25
1 x 25
1 x 25 RE
1 x 25/16
1 x 2x14 AWG
1 x 2x16 AWG
1 x 2x18 AWG
1 x 2x20 AWG
1 x 300
1 x 300 RE
1 x 300 RM
1 x 300/25
1 x 35
1 x 35/16
1 x 3x14 AWG
1 x 3x16 AWG
1 x 3x18 AWG
1 x 3x20 AWG
1 x 4
1 x 400
1 x 400 RE
1 x 400 RM
1 x 50
1 x 50 RM
1 x 50/16
1 x 500
1 x 500 RE
1 x 500 RM
1 x 6
1 x 630 RE
1 x 630 RM
1 x 630/35
1 x 630/50
1 x 70
1 x 70 RE
1 x 70 RM
1 x 70/16
1 x 800/95
1 x 95
1 x 95 RE
1 x 95 RM
1 x 95/16
1 × 1.78
1.4 x 2.9
10 G 1.5
10 x 0.14
10 x 0.25
10 x 0.34
10 x 0.50
10 x 0.75
10 x 1.0
10 x 1.0
10 x 1.5
10 x 1.50
10 x 1.50
10 x 2 x 0.14
10 x 2 x 0.25
10 x 2 x 0.34
10 x 2 x 0.50
10 x 2 x 0.75
10 x 2 x 1.0
10 x 2 x 28 AWG
10 x 2.5
10 x 2x16 AWG
10 x 2x18 AWG
10 x 2x20 AWG
10 x 3x16 AWG
10 x 3x18 AWG
10 x 3x20 AWG
10G0,50
10G0,75
10G1
10G1,5
10G2,5
10x(1x2x0.50) + 8x2 x (1x4x0.25-H2R) + 3x(1x2x0.25 H2R) / H2R
10x0,14
10x0,25
10x0,34
10x18 AWG+Tx16 AWG
10x2.5/2.5KON
1120 x 0.5
1152 x 0.50
119 x 0.40
11x0,14
11x0,25
11x0,34
12 G 1.0
12 G 1.5
12 G 2.5
12 x (2 x 1) C
12 x 0.14
12 x 0.25
12 x 0.25
12 x 0.34
12 x 0.50
12 x 0.75
12 x 1
12 x 1.0
12 x 1.0
12 x 1.5
12 x 1.5 C
12 x 1.50
12 x 2 x 0.14
12 x 2 x 0.25
12 x 2 x 0.34
12 x 2 x 0.34
12 x 2 x 0.50
12 x 2 x 0.75
12 x 2 x 1.0
12 x 2.5
12 x 2.5
12 x 2.5 C
12 x 2x16 AWG
12 x 2x18 AWG
12 x 2x20 AWG
12 x 3.5
12 x 3x16 AWG
12 x 3x18 AWG
12 x 3x20 AWG
12 x 4
12G0,50
12G0,75
12G1
12G1,5
12G1.0
12G1.5
12G2,5
12x0,14
12x0,22
12x0,25
12x0,34
12x0,34+3x1,0
12x1.5 + 12x0.50
13x0,14
13x0,25
13x0,34
14 x 0.14
14 x 0.25
14 x 0.34
14 x 0.50
14 x 0.75
14 x 1.0
14 x 1.50
14 x 2 x 0.14
14 x 2 x 0.25
14 x 2 x 0.34
14 x 2 x 0.50
14 x 2 x 0.75
14 x 2 x 1.0
1412 x 0.5
1464 x 0.50
14G0,50
14G0,75
14G1
14x0,14
14x0,25
14x0,34
15 G 1.5
15 G 2.5
15 x 0.50
15G2.50
15x0,14
15x0,25
15x0,34
15x18 AWG+Tx16 AWG
16 x 0.14
16 x 0.25
16 x 0.34
16 x 0.34
16 x 0.50
16 x 0.75
16 x 1.0
16 x 1.0
16 x 1.50
16 x 2 x 0.14
16 x 2 x 0.25
16 x 2 x 0.34
16 x 2 x 0.50
16 x 2 x 0.75
16 x 2 x 1.0
16 x 2x16 AWG
16 x 2x18 AWG
16 x 2x20 AWG
16 x 3.5
16 x 3x16 AWG
16 x 3x18 AWG
16 x 3x20 AWG
16G0,50
16G0,75
16G1
16G1,5
16x0,14
16x0,25
16x0,34
16x0,34+3x1,0
16x0,5+3x1,0
17x0,14
17x0,25
17x0,34
18 G 1.0
18 G 1.5
18 G 1.5
18 G 2.5
18 G 2.5
18 x 0.14
18 x 0.25
18 x 0.34
18 x 0.50
18 x 0.75
18 x 1
18 x 1.5
18 x 2 x 0.14
18 x 2 x 0.25
18 x 2 x 0.34
18 x 2 x 0.50
18 x 2 x 0.75
18 x 2 x 1.0
18 x 2.5
180 x 0.40
188 x 0.40
18G0,50
18G0,75
18G1
18G1
18G1,5
18G1,5
18G2,5
18G2,5
18x0,14
18x0,25
18x0,34
19 G 1.0
19 x 0.18
19 x 1.0
19 x 2.5 + 5 x 1 CE
19 x 2.5 + 5 x 1.5 (CE)
19 x 3.5
1944 x 0.5
1944 x 0.50
19G1
19G1,5
19x0,14
19x0,25
19x0,34
1x(2x1-D)+4x(2x0.14-D)
1x(4xAWG22/1)
1x(4xAWG22/7)
1x10
1x10
1x120
1x12E + 15x4x0.8
1x150
1x16
1x16+16
1x185
1x1x10+10
1x1x16+16
1x1x25+25
1x1x35+35
1x1x50+50
1x240
1x240
1x25
1x2x0,5
1x2x0,5 + 1x0,5
1x2x0,75
1x2x0.64/2.55
1x2x22AWG + 1x22AWG
1x2xAWG24/19
1x2xAWG24/7
1x300/25
1x300/35
1x300/35
1x35
1x4
1x50
1x5x0.34+3x(2x0.14 H)
1x6
1x6.0
1x70
1x95
2 x (2 x 0.25²)
2 x (2 x 0.50²)
2 x (2 x 1.5) C
2 x 0.14
2 x 0.25
2 x 0.34
2 x 0.34
2 x 0.34²
2 x 0.5
2 x 0.50
2 x 0.50²
2 x 0.50² + 1 x 0.50²
2 x 0.75
2 x 0.75
2 x 0.75²
2 x 1.0
2 x 1.0
2 x 1.0
2 x 1.5
2 x 1.50
2 x 1/0AWG
2 x 10
2 x 10AWG
2 x 12AWG
2 x 14AWG
2 x 16
2 x 2 AWG
2 x 2 x 0.14
2 x 2 x 0.22
2 x 2 x 0.25
2 x 2 x 0.25
2 x 2 x 0.34
2 x 2 x 0.34
2 x 2 x 0.50
2 x 2 x 0.50
2 x 2 x 0.75
2 x 2 x 0.75
2 x 2 x 1.0
2 x 2.5
2 x 2.50
2 x 2/0AWG
2 x 22AWG
2 x 24AWG
2 x 25
2 x 250Kcmil
2 x 2AWG
2 x 2x16 AWG
2 x 2x18 AWG
2 x 2x20 AWG
2 x 3/0AWG
2 x 35
2 x 350Kcmil
2 x 3x16 AWG
2 x 3x18 AWG
2 x 3x20 AWG
2 x 4
2 x 4/0AWG
2 x 400Kcmil
2 x 4AWG
2 x 50
2 x 500Kcmil
2 x 6
2 x 6AWG
2 x 8 +8 AWG
2 x 8AWG
2 x AWG 20/19
20 x (2 x 0.5) CC
20 x 1.50
20 x 2x16 AWG
20 x 2x18 AWG
20 x 2x20 AWG
20 x 3.5
20 x 3x16 AWG
20 x 3x18 AWG
20 x 3x20 AWG
20G0,50
20G0,75
20G1
20x0,14
20x0,25
20x0,34
21 G 1.5
21 x 0.14
21 x 0.25
21 x 0.34
21 x 0.50
21 x 2 x 0.14
21 x 2 x 0.25
21 x 2 x 0.34
21 x 2 x 0.50
21 x 2 x 0.75
21 x 2 x 0.75
21 x 2 x 1.0
21x0,14
21x0,25
21x0,34
22 x (2 x 0.5) CC
22G0,50
22G0,75
22G1
22x0,14
22x0,25
22x0,34
23x0,14
23x0,25
23x0,34
23x1,0+(2x1,0)D
24 G 0.75
24 G 1.5
24 G 2.5
24 x 0.50
24 x 1
24 x 1.5
24 x 1.50
24 x 2.5
24 x 2x16 AWG
24 x 2x18 AWG
24 x 2x20 AWG
24 x 3.5
24 x 3x16 AWG
24 x 3x18 AWG
24 x 3x20 AWG
24G0,50
24G0,75
24G1
24G1
24x0,14
24x0,25
24x0,34
24x2.5+(6x0.5)C
24x2.5+2x(2x1)C
24xAWG12
25 G 1.0
25 G 1.5
25 x 0.14
25 x 0.25
25 x 0.34
25 x 0.5
25 x 0.50
25 x 0.50
25 x 0.75
25 x 1.5
25 x 2 x 0.14
25 x 2 x 0.25
25 x 2 x 0.34
25 x 2 x 0.50
25 x 2 x 0.50
25 x 2 x 0.75
25 x 2 x 1.0
25 x 2.5 + 5 x 1 CE
25 x 2.5 + 5 x 1.5 (CE)
25G0,50
25G0,75
25G1
25G1,5
25G2,5
25x0,14
25x0,25
25x0,34
25x1.5
25x18 AWG+Tx16 AWG
25x2.5
264 x 0.40
26G0,50
26G0,75
26G1
26x0,14
26x0,25
26x0,34
27 x 0.14
27 x 0.25
27 x 0.34
27 x 0.50
27 x 0.75
27G1
27G1,5
27x0,14
27x0,25
27x0,34
28G0,50
28G0,75
28G1
28x0,14
28x0,25
28x0,34
29 x 0.25
29x0,14
29x0,25
29x0,34
2x0,14
2x0,25
2x0,34
2x0,50
2x0,75
2x0.5 + 4x2x0.22
2x0.50 + 1x0.50
2x1
2x1+2x(2x0.22)
2x1,5
2x16AWG
2x1x10+10
2x1x16+16
2x1x25+25
2x1x35+35
2x1x50+50
2x1x70+70
2x2,5
2x2x0,18
2x2x0.14+1x2x0.34
2x2x0.15+1x2x0.38
2x2x0.20+1x2x0.38
2x2x0.25+2x0.5
2x2x0.25/1.60
2x2xAWG24/7
2x4
2x50 + 1x50
3 G 1.0
3 G 1.5
3 G 10
3 G 16
3 G 2.5
3 G 25
3 G 4
3 G 6
3 x (2 x 1.5) C
3 x 0.14
3 x 0.25
3 x 0.25
3 x 0.34
3 x 0.34
3 x 0.50
3 x 0.75
3 x 1 x 240 + 25 C
3 x 1 x 300 + 25 C
3 x 1.0
3 x 1.0
3 x 1.5
3 x 1.50
3 x 1/0AWG
3 x 10
3 x 10AWG
3 x 120
3 x 120 + 2 x 70/2
3 x 120 + 3 x 16
3 x 120 + 3 x 35/3
3 x 120 + 3G16
3 x 120 + 3G25
3 x 120 + 3G25
3 x 120/50
3 x 12AWG
3 x 14AWG
3 x 150
3 x 150 + 2 x 70/2
3 x 150 + 3 x 25
3 x 150 + 3G25
3 x 150/70
3 x 16
3 x 16 + 3 x 16/3
3 x 16 + 3 x 2.5
3 x 16 + 3G2.5
3 x 185
3 x 185 + 2 x 95/2
3 x 185 + 3 x 35
3 x 185 + 3G35
3 x 185/95
3 x 2 x 0.14
3 x 2 x 0.25
3 x 2 x 0.34
3 x 2 x 0.34
3 x 2 x 0.50
3 x 2 x 0.50
3 x 2 x 0.75
3 x 2 x 1.0
3 x 2.5
3 x 2.50
3 x 2/0AWG
3 x 240 + 2 x 120/2
3 x 240 + 3 x 50
3 x 240 + 3G50
3 x 240/120
3 x 240/120
3 x 25
3 x 25 + 2 x 25/2
3 x 25 + 3 x 16/3
3 x 25 + 3 x 6
3 x 25 + 3G6
3 x 250Kcmil
3 x 2AWG
3 x 2x16 AWG
3 x 3/0AWG
3 x 300 + 2 x 150/2
3 x 300 + 3 x 150/3
3 x 300 + 3 x 50
3 x 35
3 x 35 + 2 x 25/2
3 x 35 + 3 x 16/3
3 x 35 + 3 x 6
3 x 35 + 3G6
3 x 35 +25
3 x 35/16
3 x 35/25
3 x 350Kcmil
3 x 4
3 x 4/0AWG
3 x 400Kcmil
3 x 4AWG
3 x 50
3 x 50 + 2 x 25/2
3 x 50 + 3 x 10
3 x 50 + 3G10
3 x 50 +25
3 x 50/25
3 x 500Kcmil
3 x 6
3 x 6AWG
3 x 70
3 x 70 + 2 x 35/2
3 x 70 + 3 x 10
3 x 70 + 3 x 16
3 x 70 + 3 x 50/3
3 x 70 + 3G10
3 x 70 + 3G16
3 x 70/35
3 x 8AWG
3 x 90 + 2 x 50/2
3 x 95
3 x 95 + 3 x 16
3 x 95 + 3G16
3 x 95/50
3 x 95/50
30 x 0.25
30 x 0.34
30 x 0.50
30 x 0.75
30 x 1.5
30 x 2.5
30 x 3.5
30G0,50
30G0,75
30G1
30G1,5
30G2,5
30x0,14
30x0,25
30x0,34
30x2,5
31x0,14
31x0,25
31x0,34
32 G 1.0
32 x 0.14
32 x 0.25
32 x 0.25
32 x 0.34
32 x 1.0
328 x 0.50
32x0,14
32x0,14
32x0,14
32x0,14
32x0,14
32x0,14
32x0,14
32x0,25
32x0,34
342 x 0.50
34G1
34G1,5
36 x 1.5
36 x 2.5
36 x 2.5
36 x 2x16 AWG
36 x 2x18 AWG
36 x 2x20 AWG
36 x 3.5
36 x 3x16 AWG
36 x 3x18 AWG
36 x 3x20 AWG
36G1
36x2,5
36xAWG12
37 x 0.25
37 x 0.34
37 x 0.50
372 x 0.4
37G1
37G1,5
37G2,5
37x0,34
380 x 0.40
3C + 2G + 1P
3G0,50
3G0,75
3G1
3G1
3G1,5
3G1.5
3G1.50
3G10
3G16
3G2,5
3G2.5
3G25
3G35
3G4
3G50
3G6
3G75
3P
3P+1G
3P+3G
3P+3G+2C
3P+N
3P+N+G
3P+N+PE
3P+PE
3X120+3X70/3
3X50+3X50/3
3X70+3X50/3
3x(2x0.14) + 1x3x0.14
3x(2x0.14)C+(3x0.14)C
3x(2x0.14)C+2x(0.5)C
3x(2x0.14)C+4x0.14+2x(2x0.5)C
3x(2x0.25)C
3x(2x0.34)C
3x0,14
3x0,25
3x0,34
3x0.25+3x(2x0.25)+2x1.0
3x10 + 10T + 1x(2x0.50 C)
3x10+1x10
3x10+1x10+1x2,5
3x10+3x10/3E
3x120+1x50+OFE
3x120+1x70PE+1x120N
3x120+2x35+1x10P
3x120+2x50E+1x10P
3x120+2x50E+1x16P
3x120+2x70/2GC+10GCC
3x120+3G25
3x120+3G70/3
3x120+3x(1,5KON+70/3KON)+UEL
3x120+3x60/3E
3x120+3x70/3
3x120+3x70/3E
3x120+3x70/3E
3x120+3x70/3E+3c2,5ST
3x120+3x70/3E+3x2,5+UEL
3x120+3x70/3E+3x2,5ST
3x120+3x70/3E+3x2.5ST+UEL
3x120+3x70E+1x10GCC
3x120/40+2x70GC+1x10GCC
3x120/60
3x120/70
3x120/70KON
3x120RM/28+2x70/2GC+1x10GCC
3x120RM/50+2x70/2GC+10GCC
3x120RM/70
3x150+2x70E+1x10P
3x150+3G25
3x150+3x25+3x2.5
3x150+3x25+3x2.5
3x150+3x25+3x2.5P
3x150+3x70/3
3x150+3x70/3
3x150+3x70/3E
3x150+3x70/3E+3x2,5
3x150+3x70/3E+3x2,5ST
3x150+3x70/3E+3x2.5ST+UEL
3x150/70
3x150/70KON
3x150/80
3x16+2x6+1x6P
3x16+3x16/3E
3x185 + 1x95
3x185 + 1x95
3x185+2x50+1x16P
3x185+2x95/2+1x(4x2,5)C
3x185+2x95/2+OFE6G62,5/125
3x185+2x95E+1x10P
3x185+3x75/3
3x185+3x95/3
3x185+3x95/3
3x185+3x95/3
3x185+3x95/3E
3x185+3x95/3E+3x2.5ST+OFE
3x185+3x95/3E+OFE 6G62,5/125
3x185+3x95/E+3x2.5ST+UEL
3x185/95
3x185/95KON
3x1x10+10
3x1x120+70
3x1x16+16
3x1x25+25
3x1x35+35
3x1x50+50
3x1x70+70
3x2,5
3x2.5+1x2.5
3x2.5/2.5KON
3x240+2x120/2+10P+OFE
3x240+2x120E+1x10P
3x240+2x95E+1x10P+OFE6E9/125
3x240+3x120/3
3x240+3x120/3
3x240RM/40+2x120/2GC+1x10GCC
3x240RM/50+2x120/2GC+1x10GCC
3x25 + 3 G 6(earth)
3x25+2x10+1x6P
3x25+2x25/2+(7x1,5)C
3x25+2x25/2+10P
3x25+2x25/2GC+1x10GCC
3x25+3G25/3
3x25+3x16/3E
3x25+3x16/3E+3x2.5ST+UEL
3x25+3x16/3E+OFE
3x25+3x25/2GC+1x10GCC
3x25+3x25/3
3x25+3x25/3E
3x25+3x25/3E
3x25+3x6
3x25/16
3x25/25
3x2x0,14+2x0,5
3x2x0,14+2x0,5+4x0,14
3x2x0,14+2x0,5+4x0,14+4x0,22
3x2x0.14 + 4x0.14 + 2x0.50
3x2x0.25+2x0.50
3x2x0.5 + 1G1
3x300 + 1x150
3x300+2x120+2x10P+OFE
3x300+2x120+2x10P+OFE
3x300+3x120+2x10P
3x300+3x150/3
3x35+1x25+(8x2.5)C+OFE
3x35+1x25+(8x2.5)C+OFE
3x35+2x10+1x8
3x35+2x10+1x8P
3x35+2x12+1x10P
3x35+2x16E+1x10P
3x35+2x25/2+OFE
3x35+2x25/2GC+10GCC
3x35+2x25E+10GCC
3x35+3G25/3
3x35+3x16/3E+3x2,5ST
3x35+3x16/3E+3x2.5ST+UEL
3x35+3x25/3
3x35+3x25/3
3x35+3x25/3E
3x35+3x25/3E+3x2,5ST
3x35+3x25/3E+3x2,5ST+UEL
3x35/25+2x25GC+1x10GCC
3x35/35
3x35/35+OFE12G62,5/125
3x35/35+OFE6G62,5/125
3x400RM/50
3x50+1x25+(8x2,5)C+OFE
3x50+1x25+1x(4x4)C+OFE
3x50+2x25+1x10P
3x50+2x25/2+1x6P
3x50+2x25E+1x10P
3x50+3G10
3x50+3G25/3
3x50+3x(2xST+3x35/3E)+UEL
3x50+3x10+3x2.5
3x50+3x10+3x2.5P
3x50+3x10+6x(4x1)
3x50+3x25/3
3x50+3x25/3
3x50+3x25/3E
3x50+3x25/3E+3x2,5ST
3x50+3x25/3E+3x2,5ST
3x50+3x25/3E+3x2,5ST+UEL
3x50+3x25/3E+3x2.5ST+UEL
3x50+3x25/3E+OFE
3x50+3x35/3E+3x2.5ST
3x50+3x50/3
3x50/25+2x(6x2,5)C+OFE
3x50/25+2x(6x2.5)C+OFE
3x50/25KON
3x50/50
3x50/50+OFE18G62,5/125
3x50/50+OFE6G62,5/125
3x6+1x6
3x70+2x35+1x10P
3x70+2x35/2+(2x2,5)C+OFE
3x70+2x35/2+OFE
3x70+2x35E+1x10P
3x70+2x50/2+6P
3x70+2x50/2+OFE
3x70+3G35/3
3x70+3x12+6x(4x1)
3x70+3x16
3x70+3x35/3
3x70+3x35/3
3x70+3x35/3E
3x70+3x35/3E+3x2,5ST
3x70+3x35/3E+3x2.5ST
3x70+3x35/3E+3x2.5ST+UEL
3x70+3x50/3
3x70+3x70/3
3x70/35KON
3x70/70
3x70x3G16
3x75 Ω
3x75 Ω + 3x2x0.14
3x95 + 3 x 16
3x95+1x35+6P
3x95+1x50PE+1x95N
3x95+2x35+1x10P
3x95+2x50E+1x10P
3x95+3G16
3x95+3G50/3
3x95+3G50/3
3x95+3x(2xST+3x50/3E)+UEL
3x95+3x16+3x2.5
3x95+3x16+3x2.5P
3x95+3x50/3
3x95+3x50/3
3x95+3x50/3+3x1,5 ST
3x95+3x50/3E
3x95+3x50/3E
3x95+3x50/3E+3x2,5+UEL
3x95+3x50/3E+3x2.5
3x95+3x50/3E+3x2.5ST
3x95+3x50/3E+3x2.5ST+UEL
3x95+3x75/3
3x95+3x95/3
3x95+3x95/3
3x95/50+OFE
3x95/50+OFE
3x95/50KON
3x95/95
3x95RM/50
4 G 1.0
4 G 1.5
4 G 10
4 G 16
4 G 2.5
4 G 25
4 G 35
4 G 4
4 G 50
4 G 6
4 G 70
4 x (2 x 0.25²)
4 x (2 x 0.50²)
4 x (2 x AWG 24/7)
4 x (2 x AWG 26/7)
4 x (2x1) C
4 x 0,75 + (2 x 0,5) StC
4 x 0.14
4 x 0.25²
4 x 0.34
4 x 0.34
4 x 0.5
4 x 0.50²
4 x 0.60²
4 x 0.75
4 x 0.75
4 x 1 + 2 x (2 x 0,75)StC
4 x 1.0
4 x 1.0
4 x 1.5
4 x 1.5 C
4 x 1.50
4 x 1/0AWG
4 x 10
4 x 10 + 2 x (2 x 1,0) StC
4 x 10 + 2 x (2 x 1,5) StC
4 x 10 + 3 x 2.5
4 x 10 C
4 x 10AWG
4 x 120
4 x 120 SE
4 x 120 SE
4 x 12AWG
4 x 14AWG
4 x 150
4 x 150 SE
4 x 150 SE
4 x 150 SE+1x1.5 RE
4 x 150 SE+2x1.5 RE
4 x 16
4 x 16 + 2 x (2 x 1,5) StC
4 x 16 C
4 x 185 SE
4 x 185 SE
4 x 2 x 0.14
4 x 2 x 0.25
4 x 2 x 0.34
4 x 2 x 0.34
4 x 2 x 0.50
4 x 2 x 0.75
4 x 2 x 1.0
4 x 2,5 + 2 x (2 x 0,75)StC
4 x 2.5
4 x 2.5 C
4 x 2.50
4 x 2/0AWG
4 x 240 SE
4 x 240 SM
4 x 25
4 x 25 + 2 x (2 x 1,5) StC
4 x 25 C
4 x 25 RE
4 x 250Kcmil
4 x 2AWG
4 x 2x16 AWG
4 x 2x18 AWG
4 x 2x20 AWG
4 x 3/0AWG
4 x 35
4 x 35 + 2 x (2 x 1,5) StC
4 x 35 C
4 x 35 RE
4 x 350Kcmil
4 x 3x16 AWG
4 x 3x18 AWG
4 x 3x20 AWG
4 x 4
4 x 4 + (2 x 1,5) StC + (2 x 1,0) StC
4 x 4 + 2 x (2 x 1,0)StC
4 x 4 + 2 x (2 x 1,5)StC
4 x 4 C
4 x 4/0AWG
4 x 400Kcmil
4 x 4AWG
4 x 50
4 x 50 C
4 x 50 SE
4 x 50 SE
4 x 500Kcmil
4 x 6
4 x 6 + (2 x 1,5) StC + ( 2 x 1,0) StC
4 x 6 + 2 x (2 x 1,0) StC
4 x 6 + 2 x (2 x 1,5) StC
4 x 6 C
4 x 6AWG
4 x 70
4 x 70 SE
4 x 8AWG
4 x 95
4 x 95 SE
4 x 95 SE
4 x AWG 20/19
4 x AWG 22/19 (0,34²)
4 x AWG 22/7 (0,34²)
40 x 0.14
40 x 0.25
40 x 0.34
40 x 0.50
40 x 0.75
40/10
40/100
40/1200
40/1500
40/1800
40/2
40/20
40/200
40/2400
40/3
40/30
40/300
40/3000
40/3600
40/4
40/400
40/5
40/50
40/6
40/600
40/75
40/800
40/900
40x18 AWG+Tx16 AWG
40x18 AWG+Tx16 AWG
41G1
41G1,5
42 x 0.50
42 x 1.5
42 x 2,5
42xAWG12
436 x 0.5
44 x 0.14
44 x 0.25
44 x 0.34
44 x 0.50
44 x 1.5
44 x 2.5
44 x 2.5
44 x 3.5
44x2.5+(6x0.5)C
44xAWG12
456 x 0.50
46 x 1
48 x 1
48 x 2.5 + OFE 12 G 62.5/125
48G1
48x2,5
48x2,5+OFE12G62,5/125
49 x 1
49 x 3.5
4G0,50
4G0,75
4G0.75 + 2x(2x0.34)C
4G0.75 + 2x(2x0.35 Sh)
4G1
4G1 + (2x0.5 Sh) Sh
4G1 + (2x1,5)C
4G1 C
4G1,5
4G1,5 + (2x1,5)C
4G1.0 + 1x(2x1)sh
4G1.0 + 2x(2x0.75)C
4G1.0 + 2x0.5
4G1.0 sh
4G1.5
4G1.5 + 1x(2x1)
4G1.5 + 1x(2x1)sh
4G1.5 + 2X1.5
4G1.5 + 2x(2x0.75)C
4G1.5 + 2x0.5
4G1.5 C
4G1.5 C + (2x1.5 C)C
4G1.5 sh
4G1.5+(2x0.5)
4G10
4G10
4G10 + (2x1,0)C
4G10 + (2x1.5)C + (2x1)C
4G10 + 2X1.5
4G10 + 2x1.0
4G10 C
4G16
4G16
4G16
4G16 + (2x1,0)C
4G16 + 2X1.5
4G16 + 2x(2x1.5)C
4G16 + 2x1.0
4G16 C
4G1C
4G2,5
4G2,5
4G2,5 + (2x0,5)C
4G2.5
4G2.5 + 1x(2x1)sh
4G2.5 + 2X1.5
4G2.5 + 2x(2x1.0)C
4G2.5 + 2x0.5
4G2.5 C
4G2.5 C + (2x1.5 C)C
4G2.5 sh
4G2.5+1x2x1
4G2.5+2x0.75 mm²
4G25
4G25
4G25
4G25 + (2x1,0)C
4G25 + 2X1.5
4G25 + 2x(2x1.5)C
4G25 C
4G35
4G35
4G35
4G35 + (2x1,0)C
4G35 + 2X1.5
4G35 + 2x(2x1.5)C
4G35 C
4G35+1x2.5P
4G4
4G4
4G4
4G4 + (2x1,0)C
4G4 + (2x1.5)C + (2x1)C
4G4 + 1x(2x1)sh
4G4 + 2X1.5
4G4 + 2x0.75 mm²
4G4 + 2x1.0
4G4 C
4G4 C + (2x1.5 C)C
4G40
4G50
4G50 + 2X1.5
4G50 + 2x(2x2.5)C
4G50 C
4G50+1x2,5
4G6
4G6
4G6 + (2x1,0)C
4G6 + (2x1.5)C + (2x1)C
4G6 + 1x(2x1)sh
4G6 + 2X1.5
4G6 + 2x0.75 mm²
4G6 + 2x1+2x1.5)C
4G6 + 2x1.0
4G6 C
4G6 C
4G6 C + (2x1.5 C)C
4G70 C
4G75
4G75 C
4G8 C
4x(2x0,14)C+(2x1)C
4x(2x0.14 D) + 1x(2x0.5 D) C
4x(2x0.14 D) +2x(0.5 D)
4x(2x0.14 SK) + 2x1.0 SK
4x(2x0.14)C+1x(2x1)C
4x(2x0.25)C
4x0,14
4x0,25
4x0,34
4x0,34 - AWG22
4x0,5
4x1,5 +1V0,5
4x1.5 + 2x(2x0.75)StC
4x1.5+2x1.5/C
4x1.5+3x1.0/C
4x1.50+1P1.5
4x10 +1V0,5
4x10+2x1.5/C
4x10+3x1.5/C
4x10.0+1P1.5
4x16 +1V0,5
4x16+2x1.5/C
4x16.0+1P1.5
4x2,5
4x2.5 + 2x(2x1.0)StC
4x2.5 +1V0.5
4x2.5+2x1.5/C
4x2.5+3x1.0/C
4x2.50+1P1.5
4x25+1P1.5
4x25+2x1.5/C
4x2x0,14+4x1,0+(4x0,14)D
4x2x0,18
4x2x0,25
4x2x0,34+4x0,5
4x2x0.25+2x0.5
4x2x0.25+2x0.5
4x2x0.25+2x1.0
4x2x0.34+1V0.5
4x35
4x35+1P1.5
4x35+2x1.5/C
4x4 +1V0,5
4x4+2x1.5/C
4x4+3x1.0/C
4x4.00+1P1.5
4x50
4x50+1P1.5
4x50+2x1.5/C
4x6+2x1,5/C
4x6+3x1.5/C
4x6+4x1,5
4x6,00+1V0,5
4x6.00+1P1.5
4x95 SE + 1x1,5RE
5 G 1.0
5 G 1.5
5 G 10
5 G 16
5 G 2.5
5 G 25
5 G 35
5 G 4
5 G 50
5 G 6
5 G 70
5 x 0.14
5 x 0.25
5 x 0.34
5 x 0.34
5 x 0.50
5 x 0.75
5 x 0.75
5 x 1.0
5 x 1.0
5 x 1.5
5 x 1.50
5 x 1/0AWG
5 x 10
5 x 10AWG
5 x 12AWG
5 x 14AWG
5 x 16
5 x 2 x 0.14
5 x 2 x 0.25
5 x 2 x 0.34
5 x 2 x 0.50
5 x 2 x 0.75
5 x 2 x 0.75
5 x 2 x 1.0
5 x 2.5
5 x 2/0AWG
5 x 25
5 x 250Kcmil
5 x 2AWG
5 x 3/0AWG
5 x 35
5 x 350Kcmil
5 x 4
5 x 4/0AWG
5 x 400Kcmil
5 x 4AWG
5 x 500Kcmil
5 x 6
5 x 6AWG
5 x 8AWG
50 G 1.0
50 x 0.25
50 x 0.50
50 x 0.75
50 x 2.5
50 x 2x16 AWG
50 x 2x18 AWG
50 x 2x20 AWG
50 x 3x16 AWG
50 x 3x18 AWG
50 x 3x20 AWG
50/1
50/1+T
50/10
50/100
50/1200
50/150
50/1500
50/2
50/20
50/200
50/3
50/30
50/300
50/4
50/400
50/5
50/50
50/6
50/600
50/75
50/800
50/900
50G1
50G1,5
52 x 0.14
52 x 0.25
52 x 0.34
52 x 0.50
54 x 2.5 + OFE 12 G 62.5/125
54G1
54x2,5
558 x 0.5
56 x 0.25
56 x 0.30
56 x 1.5
56 x 2.5
576 x 0.50
5G0,50
5G0,75
5G1
5G1,5
5G1.50
5G10
5G16
5G2,5
5G2.5+(2x0.25)D+2x(2xAWG24/7)
5G25
5G35
5G4
5G6
5x(2x0.25)C
5x0,14
5x0,25
5x0,34
5x2.5/2.5KON
5x2x0.14 + 2x0.50
5x2x0.25
5x4/4KON
5x6/6KON
6 G 1.5
6 G 2.5
6 x (2 x 0.5) C
6 x (2 x 0.5) C
6 x (2 x 1) C
6 x (2 x 1) CC
6 x (2 x 1.5) C
6 x 0.14
6 x 0.25
6 x 0.25
6 x 0.34
6 x 0.50
6 x 0.75
6 x 1.0
6 x 1.0
6 x 1.50
6 x 16
6 x 2 x 0.14
6 x 2 x 0.25
6 x 2 x 0.34
6 x 2 x 0.50
6 x 2 x 0.50
6 x 2 x 0.75
6 x 2 x 0.75
6 x 2 x 1.0
6 x 2x16 AWG
6 x 2x18 AWG
60/10
60/100
60/2
60/2 R
60/20
60/200
60/3
60/3 R
60/30
60/300
60/400
60/50
60/600
60/75
61 x 0.14
61 x 0.25
61 x 0.34
61 x 0.50
61 x 0.75
61G1
61G1,5
64x18 AWG+Tx16 AWG
65/10
65/100
65/2
65/20
65/200
65/3
65/30
65/300
65/4
65/400
65/5
65/50
65/6
65/600
65/75
65/900
6G0,50
6G0,75
6G1
6G1,5
6G2,5
6G4
6x(2x0.25)C
6x0,14
6x0,25
6x0,34
6x18AWG+Tx16AWG
6x2x0.25
6x2x0.34+(1x2x0.34H)+1x2x1 mm²
6x2x034+(1x2x034H)+1x2x1P
7 G 1.0
7 G 1.5
7 G 10
7 G 16
7 G 2.5
7 G 4
7 G 6
7 x 0.14
7 x 0.20
7 x 0.25
7 x 0.25
7 x 0.34
7 x 0.34
7 x 0.40
7 x 0.50
7 x 0.53
7 x 0.67
7 x 0.75
7 x 0.75
7 x 0.85
7 x 1
7 x 1.0
7 x 1.0
7 x 1.04
7 x 1.35
7 x 1.5
7 x 1.50
7 x 2 x 0.14
7 x 2 x 0.25
7 x 2 x 0.34
7 x 2 x 0.50
7 x 2 x 0.75
7 x 2 x 1.0
7 x 2.5
7 x 25
7 x 35
7 x 4
7 x 6
720 x 0.50
78 x 0.40
7G0,50
7G0,75
7G1
7G1,5
7G1.0
7G1.5
7G1.5 C
7G10
7G10 C
7G16
7G16 C
7G2,5
7G2.5
7G2.5 C
7G4
7G4 C
7G6
7G6 C
7x0,14
7x0,25
7x0,34
7x2.5/2.5KON
7x2x0.14+1x2x0.50
7x2x26AWG + 2x22AWG + 2x16AWG
8 x 0.14
8 x 0.25
8 x 0.34
8 x 0.50
8 x 1.0
8 x 1.5
8 x 1.5 C
8 x 1.50
8 x 2 x 0.14
8 x 2 x 0.25
8 x 2 x 0.34
8 x 2 x 0.50
8 x 2 x 0.75
8 x 2 x 1.0
8 x 2.5
8 x 2x16 AWG
8 x 2x18 AWG
8 x 2x20 AWG
8 x 3x16 AWG
8 x 3x18 AWG
8 x 3x20 AWG
80 x 0.30
82 x 0.30
844 x 0.5
888 x 0.50
8G0,50
8G0,75
8G1
8G1,5
8G2,5
8x0,14
8x0,25
8x0,34
8x0,34+3x1,0
8x0,5
8x2x0,18
9 x (2 x 0.5) C
9 x (2 x 1) C
9 x 1.5
90/10
90/100
90/2
90/20
90/200
90/3
90/30
90/300
90/4
90/400
90/5
90/50
90/6
90/75
9G1
9G1,5
9G2,5
9x(2x0.25)C
9x(2x1)C
9x0,14
9x0,25
9x0,34
Circular compacted strand
Elbow
Flat
Loose Tube
Loose tube, SZ
MULTIBUS (1x2xAWG22)C - Profibus (1x4xAWG22)C - DeviceNet 2x(2xAWG24)D - Interbus (1x4x1,0)D - Power 1x1,0 - Ground Conductor
Multi Tight
Multibundle
Multitube
P
P+N
P+N+PE
PE
Quickmount
Rip cord
Round
Shielded and sheathed
Side-by-side
Slotted core
Slotted core, ribbon
Slotted core, tube
Standard
Straight
Suspension strand
T-shaped
Tight
Unibundle
Unitube
Unitube
Unitube, Tight Buffer
Unitube, microbundels
Unitube, ribbon
Unshielded and sheathed
Unshielded and unsheathed
white + yellow or red + black

## PLP Qualif
Nbre de fibres | Poids (kg/km) | D (mm) | Tm (daN) | Tl (daN) | Qualification avec ancrages PLP
2x6 | 48 | 8.1 | 96 | 32 | OK
4x6 | 63 | 9.3 | 142 | 47.0 | Couvert par le 6x6
6x6 | 63 | 9.3 | 142 | 47.0 | OK
8x6 | 66 | 9.5 | 163 | 54.3 | OK
12x6 | 103 | 11.4 | 233 | 78.0 | OK
16x6 | 127 | 12.7 | 284 | 95 | A tester chez PLP
24x6 | 120 | 12.6 | 260 | 87.0 | OK
1x12 | 48 | 8.1 | 98 | 33.0 | Couvert par le 2x12
2x12 | 48 | 8.1 | 98 | 33.0 | A tester chez PLP
4x12 | 57 | 9.1 | 130 | 43.0 | A tester chez PLP
3x12 | 57 | 9.1 | 130 | 43.0 | Couvert par le 4x12
6x12 | 64 | 9.5 | 141 | 47.0 | A tester chez PLP
8x12 | 90 | 10.7 | 181 | 60.0 | A tester chez PLP
12x12 | 115 | 12.2 | 245 | 82.0 | OK